## Slide 1: BillTech SE-VCP
Software Roadmap

## Slide 2: Introduction
BillTech SE-VCP core follows the strategy: setup axis=> acquire => visualise.
Axis can be setup from a variety of sources including USB, bluetooth, OPC-UA, ethernet, etc.

## Slide 3: Key features
Remote/data acquisition
Data charts visualisation
Graphical configuration/reprogramming
Ability to have add on features to a core
Consistent user interface across desktop/web/mobile
DCS/Scada enabled
Data analytics

## Slide 4: Core epic features
Add Axis/channel to SE-VCP
Change Chart type for Axis channel
Change comm protocol for Axis channel
Acquire Data from module into vcp buffer
Display data from vcp buffer
Display data from data exchange
**View Device/Axis status

## Slide 5: Core epic module use case and tasks

## Slide 6: Screens and wireframe**
Home
Configure
Device/Channel
Data-Exchange
Visualise

## Slide 7: Project Tasks
UI Design
  Wireframe design
  Layout design
  Screen design
Front End Development
  Layout
  Screen Components
  Component functionality
  Chart function
BackEnd Development
  System modules
    Communication module
    Configuration module
    Acquisition module
  Data Exchange and interface Definition
  Data modelling, design and implementation